STEPS TO TAKE IF YOUR SEPTIC SYSTEM FAILS

PERC TEST WITH SOIL EVALUATION

- Contact a Professional Engineer (PE) or a Registered Sanitarian (RS) to arrange for the perc test.  The engineer will schedule with the Health Agent to witness the testing.

- Fill out an application for the perc test and bring it to the BOH office. Include a check for $250 made out to the Town of Westminster.

- Homeowner should arrange for an excavator once a date has been booked with the BOH.  Engineers may make this arrangement, check with them.

- Once the perc test is completed the engineer will forward a copy of the soil evaluation report to you and the BOH. This report is called “Soil Suitability Assessment for On-Site Sewage Disposal.” This document is very important. You will need it in order to have septic plans designed.  If you sell the property before upgrading, this document will be very important for the new owners and adds value to the land.

SEPTIC SYSTEM INSTALLATION/CONSTRUCTION PERMIT (DSCP)

- Your Engineer will provide you with copies of your septic system installation plan and an application for the DSCP (Disposal System Construction Permit).  Bring 2 copies of the septic design plans, the DSCP application, and a check for $350 made out to the Town of Westminster.

- Make sure the information on the application is accurate. Include installers’ name, address, and phone number if you already know. If you do not have an installer yet, this information will need to be provided the office prior to picking up your permit.

- After the Health Agent approves the plans, you will receive a Disposal System Construction Permit and a copy of your septic plans stamped approved by the BOH. A BOH agent will do 3 or more inspections during installation of the new leach field.

- After the system is installed and the BOH receives necessary paper from the engineer and installer, alist of what is needed is available in the office, a Certificate of Compliance will be issued to you.

Please call our office with any questions or concerns! (978) 874-7409.