# Private Well Responsibilities in Westminster

Private wells are not regulated like public drinking water systems. In Massachusetts, responsibility for private wells is shared between the local Board of Health and the individual well owner.                                                                                                                                       The Westminster Board of Health establishes regulations and standards, while well owners are responsible for maintaining their well and ensuring their drinking water is safe through testing.

## Board of Health Responsibilities                                                                              The Westminster Board of Health is responsible for protecting public health by establishing and enforcing local private well regulations. These responsibilities include:

• Adopting regulations for well location, construction, and testing
• Issuing permits for well construction and installation
• Providing guidance to residents regarding private well requirements
• Enforcing local health regulations within the town

## Private Well Owner Responsibilities                                                            Private well owners are responsible for the quality and safety of their drinking water.           Well owners should:

• Test their well water regularly using a Massachusetts state-certified laboratory
• Maintain the well and ensure it is properly sealed and protected
• Keep potential contamination sources away from the well, including chemicals, fertilizers, and septic systems
• Follow all local Board of Health regulations

## Recommended Water Testing                                                                The Massachusetts Department of Environmental Protection (MassDEP) recommends routine testing of private well water:

• Every Year: Bacteria (Total Coliform / E. coli) and Nitrates
• Every 3–5 Years: Arsenic and other naturally occurring contaminants
• Additional Testing: After flooding, repairs, or noticeable changes in water taste, color, or odor

## If Your Well Water Is Contaminated                                                          If testing indicates your well water may be unsafe:

- Contact the Westminster Board of Health for guidance

- Use bottled water for drinking and cooking until the issue is resolved

- Work with a state-certified laboratory or water treatment professional to determine the source and appropriate treatment

For additional information about private wells in Westminster, please contact The Board of Health at 978-874-7409 or boh@westminster-ma.gov.